## Sheet1
Description | Quantity | Unit | Currency | Cost in Currency (Column F) | References | Dis | VAT | % local Content | SCO Remarks | Internal Comments | ZAR | USD | INR | EUR | LIST PRICE (in contract currency) | Material Rate (Contract currency) | Material Amount USD Memo | Material Amount ZAR | ZAR cents/Wp | Percentage of total EPC Price | USD $cents/Wp | Local Content Amount | ZAR | USD final | INR | EUR
PV Modules (Polycrystalline) | 261300 | NOS | USD | 66 | FOB Basis | 1 | 1 | 0 |  |  | 0 | 66 | 0 | 0 | 940.5 | 940.5 | 17245800 | 245752650 | 284.93 | 0.49038 | 20 | 0 | 0 | 17245800 | 0 | 0
PIA Solar | 1 | LOT | USD | 9487500 | (DDP Site) | 1 | 1 | 0.7 | Revised Offer from PIA Solar (South Africa) |  | 0 | 9487500 | 0 | 0 | 135196875 | 135196875 | 9487500 | 135196875 | 156.75 | 0.26977 | 11 | 6641250 | 0 | 9487500 | 0 | 0
1C x 300 Sqmm 22kV MV AL Ar. FR cable, XLPE Insulation | 56650 | MTR | USD | 7.29 | Apar | 1 | 1 | 0 | SCO has better prices Vendor: Apar (India) |  | 0 | 7.29 | 0 | 0 | 103.8825 | 103.8825 | 412978.5 | 5884943.625 | 6.82 | 0.011743 | 0.48 | 0 | 0 | 412978.5 | 0 | 0
PV Plant SCADA | 1 | NOS | USD | 172500 | Number assumed as per previous experience | 1 | 1 | 0 | SWPL price to be considereed. (Indian) |  | 0 | 172500 | 0 | 0 | 2458125 | 2458125 | 172500 | 2458125 | 2.85 | 0.0049049 | 0.2 | 0 | 0 | 172500 | 0 | 0
1C x 630 Sqmm 22kV MV Cu. Ar. FR cable, XLPE Insulation | 1800 | MTR | USD | 54.69 | Apar | 1 | 1 | 0 | SCO has better prices Vendor: Apar (India) |  | 0 | 54.69 | 0 | 0 | 779.3325 | 779.3325 | 98442 | 1402798.5 | 1.63 | 0.0027991 | 0.11 | 0 | 0 | 98442 | 0 | 0
Standard Module Tests | 261300 | NOS | USD | 0.3201 |  | 1 | 1 | 0 |  |  | 0 | 0.3201 | 0 | 0 | 4.5614 | 4.5614 | 83642.13 | 1191900.3525 | 1.38 | 0.0023783 | 0.1 | 0 | 0 | 83642.13 | 0 | 0
19 c x 2.5 Sqmm copper cable | 4025 | MTR | USD | 4.75 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: Polycab (India) |  | 0 | 4.75 | 0 | 0 | 67.6875 | 67.6875 | 19118.75 | 272442.1875 | 0.32 | 0.00054363 | 0.02 | 0 | 0 | 19118.75 | 0 | 0
Warranty Extension to 5 years | 1 | NOS | USD | 19033 | Cambell | 1 | 1 | 1 | (South Africa) |  | 0 | 19033 | 0 | 0 | 271220.25 | 271220.25 | 19033 | 271220.25 | 0.31 | 0.00054119 | 0.02 | 19033 | 0 | 19033 | 0 | 0
PV Modules (Polycrystalline) | 262 | NOS | USD | 66 |  | 1 | 1 |  |  |  | 0 | 66 | 0 | 0 | 940.5 | 940.5 | 17292 | 246411 | 0.29 | 0.00049169 | 0.02 |  | 0 | 17292 | 0 | 0
Installation of Stations | 1 | NOS | USD | 15000 | Cambell | 1 | 1 | 1 | (South Africa) |  | 0 | 15000 | 0 | 0 | 213750 | 213750 | 15000 | 213750 | 0.25 | 0.00042652 | 0.02 | 15000 | 0 | 15000 | 0 | 0
FO Cable (8 fibres) Multimode Armoured Cable for SCB communication | 18500 | MTR | USD | 0.7 | Apar | 1 | 1 | 0 | Sco has offer of $.70 from APAR (India) |  | 0 | 0.7 | 0 | 0 | 9.975 | 9.975 | 12950 | 184537.5 | 0.21 | 0.00036823 | 0.02 | 0 | 0 | 12950 | 0 | 0
4c X 4 Sqmm Cu. (SWA PVC) | 5880 | MTR | USD | 1.85 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 1.85 | 0 | 0 | 26.3625 | 26.3625 | 10878 | 155011.5 | 0.18 | 0.00030931 | 0.01 | 0 | 0 | 10878 | 0 | 0
Lightning warning and Measurement system | 1 | NOS | USD | 10692.86 | Cambell | 1 | 1 | 0 | SCO has better Price Vendor- Meatech (Indian) |  | 0 | 10692.86 | 0 | 0 | 152373.255 | 152373.255 | 10692.86 | 152373.255 | 0.18 | 0.00030405 | 0.01 | 0 | 0 | 10692.86 | 0 | 0
12 c x 2.5 Sqmm copper cable | 3035 | MTR | USD | 3.4 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: Polycab (India) |  | 0 | 3.4 | 0 | 0 | 48.45 | 48.45 | 10319 | 147045.75 | 0.17 | 0.00029342 | 0.01 | 0 | 0 | 10319 | 0 | 0
Soiling Measurement Device (CR-PVS1) | 5 | NOS | USD | 1902.89 | Cambell | 1 | 1 | 0 | SWL has better Price (South Africa) |  | 0 | 1902.89 | 0 | 0 | 27116.1825 | 27116.1825 | 9514.45 | 135580.9125 | 0.16 | 0.00027054 | 0.01 | 0 | 0 | 9514.45 | 0 | 0
4c X 6 Sqmm Cu. (XLPE SWA PVC) | 4900 | MTR | USD | 1.85 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 1.85 | 0 | 0 | 26.3625 | 26.3625 | 9065 | 129176.25 | 0.15 | 0.00025776 | 0.01 | 0 | 0 | 9065 | 0 | 0
RS485 Communication Cable 4 Core Shielded 0.5 sqmm (Armoured Direct Buried Application) Make: APAR/BELDEN/LAPP | 5576 | MTR | USD | 1.54 | Polycab | 1 | 1 | 0 | Sco has offer of $1.54 from Polycab (India) |  | 0 | 1.54 | 0 | 0 | 21.945 | 21.945 | 8587.04 | 122365.32 | 0.14 | 0.00024417 | 0.01 | 0 | 0 | 8587.04 | 0 | 0
3C x 2.5 Sqmm. copper cable | 7650 | MTR | USD | 1.08 | Polycab | 1 | 1 | 1 | SCO has better prices Vendor: Polycab (India) |  | 0 | 1.08 | 0 | 0 | 15.39 | 15.39 | 8262 | 117733.5 | 0.14 | 0.00023493 | 0.01 | 8262 | 0 | 8262 | 0 | 0
1.1kV, 3.5CX240 Sqmm, XLPE, Ar., FR, Al Cable for DG/Aux Trafo | 600 | MTR | USD | 11.34 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 11.34 | 0 | 0 | 161.595 | 161.595 | 6804 | 96957 | 0.11 | 0.00019347 | 0.01 | 0 | 0 | 6804 | 0 | 0
4CX16 Sqmm Al. Cable, XLPE (Lighting, Small Aux. Panels) | 3450 | MTR | USD | 1.44 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 1.44 | 0 | 0 | 20.52 | 20.52 | 4968 | 70794 | 0.08 | 0.00014126 | 0.01 | 0 | 0 | 4968 | 0 | 0
5 c x 2.5 Sqmm copper cable | 3035 | MTR | USD | 1.57 | Polycab | 1 | 1 | 1 | SCO has better prices Vendor: Polycab (India) |  | 0 | 1.57 | 0 | 0 | 22.3725 | 22.3725 | 4764.95 | 67900.5375 | 0.08 | 0.00013549 | 0.01 | 4764.95 | 0 | 4764.95 | 0 | 0
Back of Module Temperature Sensor | 10 | NOS | USD | 389 | Cambell | 1 | 1 |  |  |  | 0 | 389 | 0 | 0 | 5543.25 | 5543.25 | 3890 | 55432.5 | 0.06 | 0.00011061 | 0 | 0 | 0 | 3890 | 0 | 0
FO Cable (12 Fibres) 9/125μm SingleMode Armoured Cable for PV Plant | 9200 | MTR | USD | 0.42 | Apar | 1 | 1 | 0 | Sco has offer of $.42 from APAR (India) |  | 0 | 0.42 | 0 | 0 | 5.985 | 5.985 | 3864 | 55062 | 0.06 | 0.00010987 | 0 | 0 | 0 | 3864 | 0 | 0
Wind Sensor | 5 | NOS | USD | 707.47 | Cambell | 1 | 1 |  |  |  | 0 | 707.47 | 0 | 0 | 10081.4475 | 10081.4475 | 3537.35 | 50407.2375 | 0.06 | 0.00010058 | 0 | 0 | 0 | 3537.35 | 0 | 0
Enclosure for Soiling, Power Supply and Mounting for Soiling Stn, 12V 20 W Solar Module | 5 | NOS | USD | 706.65 | Cambell | 1 | 1 | 1 |  |  | 0 | 706.65 | 0 | 0 | 10069.7625 | 10069.7625 | 3533.25 | 50348.8125 | 0.06 | 0.00010047 | 0 | 3533.25 | 0 | 3533.25 | 0 | 0
4CX120 Sqmm Al, Cable, XLPE (LT Panel to Charger & DBs) | 500 | MTR | USD | 6.68 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 6.68 | 0 | 0 | 95.19 | 95.19 | 3340 | 47595 | 0.06 | 9.4971e-05 | 0 | 0 | 0 | 3340 | 0 | 0
3c x 2.5 Sqmm Cu Cable | 3000 | MTR | USD | 1.08 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 1.08 | 0 | 0 | 15.39 | 15.39 | 3240 | 46170 | 0.05 | 9.2128e-05 | 0 | 0 | 0 | 3240 | 0 | 0
Enclosure | 5 | NOS | USD | 417.81 | Cambell | 1 | 1 |  |  |  | 0 | 417.81 | 0 | 0 | 5953.7925 | 5953.7925 | 2089.05 | 29768.9625 | 0.03 | 5.9401e-05 | 0 | 0 | 0 | 2089.05 | 0 | 0
165 foot per sensor cable | 1650 | FOOT | USD | 1.2 | Cambell | 1 | 1 |  |  |  | 0 | 1.2 | 0 | 0 | 17.1 | 17.1 | 1980 | 28215 | 0.03 | 5.63e-05 | 0 | 0 | 0 | 1980 | 0 | 0
Humidity Sensor | 5 | NOS | USD | 360.77 | Cambell | 1 | 1 |  |  |  | 0 | 360.77 | 0 | 0 | 5140.9725 | 5140.9725 | 1803.85 | 25704.8625 | 0.03 | 5.1292e-05 | 0 | 0 | 0 | 1803.85 | 0 | 0
4c X 10 Sqmm Al. (XLPE SWA PVC) | 1160 | MTR | USD | 1.42 | Polycab | 1 | 1 | 0 | SCO has better prices Vendor: POLYCAB (India) Non Negotiated Price |  | 0 | 1.42 | 0 | 0 | 20.235 | 20.235 | 1647.2 | 23472.6 | 0.03 | 4.6837e-05 | 0 | 0 | 0 | 1647.2 | 0 | 0
Rain Gauge | 5 | NOS | USD | 292.01 | Cambell | 1 | 1 |  | SCO has better price. |  | 0 | 292.01 | 0 | 0 | 4161.1425 | 4161.1425 | 1460.05 | 20805.7125 | 0.02 | 4.1516e-05 | 0 | 0 | 0 | 1460.05 | 0 | 0
Power Supply | 5 | NOS | USD | 287.71 | Cambell | 1 | 1 | 0 | SCO has better Price Vendor- Meatech (Indian) |  | 0 | 287.71 | 0 | 0 | 4099.8675 | 4099.8675 | 1438.55 | 20499.3375 | 0.02 | 4.0904e-05 | 0 | 0 | 0 | 1438.55 | 0 | 0
6 Plate Radiation Shield with offset Bracket | 5 | NOS | USD | 121.5 | Cambell | 1 | 1 |  |  |  | 0 | 121.5 | 0 | 0 | 1731.375 | 1731.375 | 607.5 | 8656.875 | 0.01 | 1.7274e-05 | 0 | 0 | 0 | 607.5 | 0 | 0
Stainless steel sensor cross arm for Soiling Station | 5 | NOS | USD | 110.75 | Cambell | 1 | 1 | 0 |  |  | 0 | 110.75 | 0 | 0 | 1578.1875 | 1578.1875 | 553.75 | 7890.9375 | 0.01 | 1.5746e-05 | 0 | 0 | 0 | 553.75 | 0 | 0
Cable for Rain Gauge | 25 | MTR | USD | 0.8 | Cambell | 1 | 1 |  |  |  | 0 | 0.8 | 0 | 0 | 11.4 | 11.4 | 20 | 285 | 0 | 5.6869e-07 | 0 | 0 | 0 | 20 | 0 | 0
Y Branch Connectors (male) with 15A fuse on inputs of positive string. Assembly of T connector for 4sqmm(input side)/6sqmm(output side) | 4730 | NOS | INR | 80 | Elcom | 1 | 1 | 0 | This is non negotiated price from Elcom (India) |  | 0 | 0 | 80 | 0 | 16.9005 | 16.9005 | 5609.7655 | 79939.1584 | 0.09 | 0.00015951 | 0.01 | 0 | 0 | 0 | 378400 | 0
Y Branch Connectors (Female) Assembly of T connector for 4sqmm(input side)/6sqmm(output side) | 4730 | NOS | INR | 80 | Elcom | 1 | 1 | 0 | This is non negotiated price from Elcom (India) |  | 0 | 0 | 80 | 0 | 16.9005 | 16.9005 | 5609.7655 | 79939.1584 | 0.09 | 0.00015951 | 0.01 | 0 | 0 | 0 | 378400 | 0
Wire Mesh Cover Clip | 48944 | NOS | ZAR | 1.75 | Cabstrut | 0.97 | 1 | 1 |  |  | 1.75 | 0 | 0 | 0 | 1.75 | 1.6975 | 5830.3467 | 83082.44 | 0.1 | 0.00016578 | 0.01 | 5830.3467 | 83082.44 | 0 | 0 | 0
Warning Tapes for HT Cables (300 mtr roll). Employed only at crossings. | 56 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VANDEL PROOF MI FARE CARD READER WITH KEY PAD - MAIN GATE | 3 | NOS | INR | 12740 | Link Vue | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 12740 | 0 | 2691.3977 | 2691.3977 | 566.61 | 8074.193 | 0.01 | 1.6111e-05 | 0 | 0 | 0 | 0 | 38220 | 0
UV Cable Ties, Type 21, 700mm length (resistant to UV light, black in colour, operating temperature of -45°C to 85°C, flame rating of UL 94V-2, UL recognized/ ROHS compliance) as per IEC and UL standard | 549045 | NOS | INR | 6.5 | Reputed | 1 | 1 | 0 | SCO has better prices Vendor: Comet (India) |  | 0 | 0 | 6.5 | 0 | 1.3732 | 1.3732 | 52907.212 | 753927.7717 | 0.87 | 0.0015044 | 0.06 | 0 | 0 | 0 | 3568792.5 | 0
UV Cable Ties, Type 21, 450mm length (resistant to UV light, black in colour, operating temperature of -45°C to 85°C, flame rating of UL 94V-2, UL recognized/ ROHS compliance) as per IEC and UL standard | 108033.3 | NOS | INR | 2 | Reputed | 1 | 1 | 0 | SCO has better prices Vendor: Comet (India) |  | 0 | 0 | 2 | 0 | 0.42251 | 0.42251 | 3203.1791 | 45645.3017 | 0.05 | 9.1081e-05 | 0 | 0 | 0 | 0 | 216066.6 | 0
UPS DB with SPD (For MCR), 1Nos 200A TPN MCCB, 8 nos 32ATPN ELCB as outgoing, 16A DP MCCB 3 Nos. as outgoing | 1 | NOS | ZAR | 49460 | SHAW CONTROL | 1 | 1 | 1 | SCO to takes the quote and revised offer (South Africa) |  | 49460 | 0 | 0 | 0 | 49460 | 49460 | 3470.8772 | 49460 | 0.06 | 9.8693e-05 | 0 | 3470.8772 | 49460 | 0 | 0 | 0
UPS DB with SPD (For LT Station), 3 Nos 40 A MCB, 6 Nos 10 DP ELCB as outgoing (As per Inverter Skid Manufacturer) | 26 | NOS | ZAR |  | included in Inv Stn | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UPS 3 kVA with Battery Bank for 1hrs Backup Inverter room | 26 | NOS | INR | 161980 | VERTIV | 1 | 1 | 0 | SWPL to consderd local SA offer (R32396/unit) considering one hour. (Indian) |  | 0 | 0 | 161980 | 0 | 34219.1989 | 34219.1989 | 62435.0296 | 889699.1719 | 1.03 | 0.0017753 | 0.07 | 0 | 0 | 0 | 4211480 | 0
UPS 25 kVA with Battery Bank for 3hrs Backup (with stablizer) MCR | 1 | NOS | ZAR | 319346 | AC Digital Energy | 1 | 1 | 0 | SCO to takes the quote and revised offer (South Africa) |  | 319346 | 0 | 0 | 0 | 319346 | 319346 | 22410.2456 | 319346 | 0.37 | 0.00063722 | 0.03 | 0 | 319346 | 0 | 0 | 0
Tools / Breaker trolley | 2 | NOS | INR | 45000 | Tricolite | 1 | 1 | 0 | SCO has offer of M/s Tricolite INR 45000 (India) |  | 0 | 0 | 45000 | 0 | 9506.5067 | 9506.5067 | 1334.2466 | 19013.0134 | 0.02 | 3.7939e-05 | 0 | 0 | 0 | 0 | 90000 | 0
Testing of modules at third party lab (5 piece considered) | 0 | LS | USD | 8738.4 |  | 1 | 1 | 0 |  |  | 0 | 8738.4 | 0 | 0 | 124522.2 | 124522.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Testing | [22 empty] | 0 | 0 | 0 | 0
Termination for RS485 Communication Cable 4 Core Shielded 0.5 sqmm for both end along with splicing and termination material like sleeve, pintype lugs etc. | 1208 | NOS | INR | 1.62 |  | 1 | 1 | 0 | SCO has better prices Vendor: HEX (India) |  | 0 | 0 | 1.62 | 0 | 0.34223 | 0.34223 | 29.0119 | 413.419 | 0 | 8.2494e-07 | 0 | 0 | 0 | 0 | 1956.96 | 0
Termination for Optical Fiber cable with Splicing at both end. (Includes splicing of all cores) | 4505 | NOS | ZAR | 180 | AGE (old reference) | 1 | 1 | 0 | SCO to takes the quote and revised offer |  | 180 | 0 | 0 | 0 | 180 | 180 | 56905.2632 | 810900 | 0.94 | 0.0016181 | 0.07 | 0 | 810900 | 0 | 0 | 0
Termination for Optical Fiber Cable with Splicing at both end (Includes splicing of all cores) | 602 | NOS | INR | 180 | AGE (old reference) | 1 | 1 | 0 | SCO to takes the quote and revised offer |  | 0 | 0 | 180 | 0 | 38.026 | 38.026 | 1606.4328 | 22891.6681 | 0.03 | 4.5678e-05 | 0 | 0 | 0 | 0 | 108360 | 0
T & L Bow for HDPE pipe | 100 | NOS | INR |  | TTS Africa | 1 | 1 | 0 | Price inclusive above |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply, Manufacturing , Erection , Testing and Commissioning of Indoor termination for 1Cx630 Sqmm cable at 22kV Main Panel Heat shrinkable indoor type termination kit suitable for terminating above cable at 22kV | 48 | NOS | INR | 2800 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs. 2800 from Raman Electricals (India) |  | 0 | 0 | 2800 | 0 | 591.516 | 591.516 | 1992.4748 | 28392.7666 | 0.03 | 5.6655e-05 | 0 | 0 | 0 | 0 | 134400 | 0
Supply, Manufacturing , Erection , Testing and Commissioning of Indoor termination for 1Cx300 Sqmm cable at RMU (Plug-in type termination) with silicon cap on each phase bushing terminal of RMU | 33 | NOS | INR | 2500 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs. 2500 from Raman Electricals (India) |  | 0 | 0 | 2500 | 0 | 528.1393 | 528.1393 | 1223.0593 | 17428.5956 | 0.02 | 3.4777e-05 | 0 | 0 | 0 | 0 | 82500 | 0
Supply, Manufacturing , Erection , Testing and Commissioning of Indoor termination for 1Cx300 Sqmm cable at 22kV Main Panel, Heat shrinkable indoor type termination kit suitable for terminating above cable at 22kV | 54 | NOS | INR | 2500 | Raman Electricals | 1 | 1 | 0 | SCO has better prices Vendor: Raman (India) |  | 0 | 0 | 2500 | 0 | 528.1393 | 528.1393 | 2001.3698 | 28519.52 | 0.03 | 5.6908e-05 | 0 | 0 | 0 | 0 | 135000 | 0
Supply of advance chemical gel earthing system of 02 number of UL listed copper bonded earth electrode with the nut & bolt at the top (for connecting the rod to the equipment) along with 50 Kgs of grounding minerals (14 mm dia, 3 mtr, Cu bonded Steel Rod, Cu bonded thickness 250 microns) | 140 | NOS | INR | 5500 | APS | 1 | 1 | 0 | SCO has better Price Vendor: APS (India) |  | 0 | 0 | 5500 | 0 | 1161.9064 | 1161.9064 | 11415.2205 | 162666.892 | 0.19 | 0.00032459 | 0.01 | 0 | 0 | 0 | 770000 | 0
Sungrow | 87.814 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Structure for Combiner Boxes | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Structure for Combiner Boxes | 10 | TONS | ZAR | 3600 | Assumed | 1 | 1 | 1 | (South Africa) |  | 3600 | 0 | 0 | 0 | 3600 | 3600 | 2526.3158 | 36000 | 0.04 | 7.1834e-05 | 0 | 2526.3158 | 36000 | 0 | 0 | 0
Strolley Mounted 50Litres CO2 Fire Extinguisher |  | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
String combiner box SPD type I+II with 12 no. of inputs, With Monitoring & Self powered IP 65, FRP, 30A Fuses on Positive side, UV Resistant, shall be provided with Ventilation Lugs, self extinguishing, halogen free, suitable for operating in Temperature range -40 Deg to +50 Deg The SCB should have inbuilt OFC Converters for communication Connector caps shall be provided to protect connector from dust during construction (Price of these caps to be considered) Along with field side MC4 connector set for SCB field side termination (connector shall be of same make as used for SCB input side) Assembly of MC-4 for 6mm2, including Crimping of multicontact MC-4 to Cu Solar 4/6 mm2 cable and for SCB. Certified for use with modules as per the IEC61730 standard and Local Standards. | 375 | NOS | INR | 35000 | Trinity Touch | 1 | 1 | 0 | SCO price to be considereed. (Indian) |  | 0 | 0 | 35000 | 0 | 7393.9496 | 7393.9496 | 194577.622 | 2772731.1137 | 3.21 | 0.0055327 | 0.23 | 0 | 0 | 0 | 13125000 | 0
Spring Nut and Washer (M12) | 44766 | NOS | ZAR | 3.1 | Cabstrut | 0.97 | 1 | 1 |  |  | 3.1 | 0 | 0 | 0 | 3.1 | 3.007 | 9446.4114 | 134611.362 | 0.16 | 0.0002686 | 0.01 | 9446.4114 | 134611.362 | 0 | 0 | 0
Spare Parts - 1250A CB, motor mech,trip coil x 2, close coil x 2, VT x 3, P120 Protection Relay | 0 | LOT | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SDB in Inverter Stations with COS with SPD | 26 | NOS | ZAR |  | included in Inv Stn | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Safety Instruction Charts | 1 | LOT | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rubber mats in line with IEC 61111 with min 4mm thickness for LT, HT panel, Inverter etc. | 700 | MTR | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Raised Peak Cable Tray Cover | 0 | MTR | ZAR | 180.5 | Cabstrut | 0.925 | 1 | 1 |  |  | 180.5 | 0 | 0 | 0 | 180.5 | 166.9625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Raised Peak Cable Tray Cover | 0 | MTR | ZAR | 349.25 | Cabstrut | 0.925 | 1 | 1 |  |  | 349.25 | 0 | 0 | 0 | 349.25 | 323.0562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Raised Peak Cable Tray Cover | 0 | MTR | ZAR | 679.5 | Cabstrut | 0.925 | 1 | 1 |  |  | 679.5 | 0 | 0 | 0 | 679.5 | 628.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Raised Peak Cable Tray Cover | 0 | MTR | ZAR | 679.5 | Cabstrut | 0.925 | 1 | 1 |  |  | 679.5 | 0 | 0 | 0 | 679.5 | 628.5375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Raised Cover Clamp | 9740 | SET | ZAR | 47.3 | Cabstrut | 0.97 | 1 | 1 |  |  | 47.3 | 0 | 0 | 0 | 47.3 | 45.881 | 31360.066 | 446880.94 | 0.52 | 0.00089171 | 0.04 | 31360.066 | 446880.94 | 0 | 0 | 0
Pyranometers (CMP 11 with 50 mtr cables) and mounting stand | 18 | NOS | INR | 214890 | Kipp & Zonen | 1 | 1 | 0 | Vendor- Adaptive |  | 0 | 0 | 214890 | 0 | 45396.7382 | 45396.7382 | 57343.2483 | 817141.2878 | 0.95 | 0.0016305 | 0.07 | 0 | 0 | 0 | 3868020 | 0
PV Modules (Polycrystalline) | 0 | NOS | USD |  |  | 1 | 1 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV Modules (Polycrystalline) | 0 | NOS | USD |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Plant Controller | 0 | NOS | USD |  | included above | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portable type | 2 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pole Mounting Brackets for SCB | 375 | NOS | ZAR |  | Cabstrut | 1 | 1 | 1 | (South Africa) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIA Solar |  |  |  |  | PIA Solar | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PABX System in PV Plant | 0 | NOS | USD |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P1001 Channel - 1 mtr (Vertical) | 6222 | NOS | INR | 45 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 45 | 0 | 9.5065 | 9.5065 | 4150.841 | 59149.4845 | 0.07 | 0.00011803 | 0 | 0 | 0 | 0 | 279990 | 0
P1001 Channel - 1 mtr (Horizontal) | 4009 | NOS | INR | 45 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 45 | 0 | 9.5065 | 9.5065 | 2674.4972 | 38111.5853 | 0.04 | 7.6048e-05 | 0 | 0 | 0 | 0 | 180405 | 0
Mounting Structure for PV Modules | 2956 | NOS | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MI Card RFID USER | 40 | NOS | INR | 350 | Link Vue | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 350 | 0 | 73.9395 | 73.9395 | 207.5495 | 2957.5799 | 0 | 5.9016e-06 | 0 | 0 | 0 | 0 | 14000 | 0
Measurement and Control Datalogger with 16GB microSD Flash SLC Memory Card | 5 | NOS | INR | 232880 | Cambell | 1 | 1 | 0 | SCO has better Price Vendor- Adaptive Make- Campbell (Indian) |  | 0 | 0 | 232880 | 0 | 49197.2283 | 49197.2283 | 17262.1854 | 245986.1416 | 0.29 | 0.00049084 | 0.02 | 0 | 0 | 0 | 1164400 | 0
MC4 connectors in Pair (Male & Female ) Y-connector & SCB Termination | 4730 | NOS | INR | 35 | Elcom | 1 | 1 | 0 | This is non negotiated price from Elcom (India) |  | 0 | 0 | 35 | 0 | 7.3939 | 7.3939 | 2454.2724 | 34973.3818 | 0.04 | 6.9786e-05 | 0 | 0 | 0 | 0 | 165550 | 0
Mast and Mounting Hardware | 5 | NOS | USD |  | Cambell | 1 | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Manuals / Drawings | 0 | DAYS | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mandatory Spares | 1 | NOS | ZAR | 5000000 | Detailing to be done | 1 | 1 | 0 | SCO will review after revised quote received from SWPL (South Africa) |  | 5000000 | 0 | 0 | 0 | 5000000 | 5000000 | 350877.193 | 5000000 | 5.8 | 0.009977 | 0.41 | 0 | 5000000 | 0 | 0 | 0
Main LT Auxiliary panel with Incomer for DG, 2Nos. MCR auxiliary transformer incoming (3Nos. 200A MCCB) and outgoing feeders (63Amps 10 Nos. TPN MCCB) (32Amp TPN 2 Nos.) as per load requirements (Loc MCR), with SPD and change over arrangements | 1 | NOS | ZAR | 168605 | SHAW CONTROL | 1 | 1 | 1 | SCO to takes the quote and revised offer (South Africa) |  | 168605 | 0 | 0 | 0 | 168605 | 168605 | 11831.9298 | 168605 | 0.2 | 0.00033643 | 0.01 | 11831.9298 | 168605 | 0 | 0 | 0
Lugs along with nut, bolt and washer suitable to connect 70Sq.mm cable | 105 | NOS | INR | 75 | APS | 1 | 1 | 0 | SCO has better prices Vendor: APS (India0 |  | 0 | 0 | 75 | 0 | 15.8442 | 15.8442 | 116.7466 | 1663.6387 | 0 | 3.3196e-06 | 0 | 0 | 0 | 0 | 7875 | 0
Lugs along with nut, bolt and washer suitable to connect 35Sq.mm cable from Tracker to Tracker Earthing | 6100 | NOS | INR | 39 | APS | 1 | 1 | 0 | SCO has better prices Vendor: APS (India0 |  | 0 | 0 | 39 | 0 | 8.239 | 8.239 | 3526.8584 | 50257.732 | 0.06 | 0.00010028 | 0 | 0 | 0 | 0 | 237900 | 0
Lugs along with nut, bolt and washer suitable for Equipment Earthing in Inverter Station and Main Control Room | 1 | NOS | INR | 75 | APS | 1 | 1 | 0 | SCO has better prices Vendor: APS (India0 |  | 0 | 0 | 75 | 0 | 15.8442 | 15.8442 | 1.1119 | 15.8442 | 0 | 3.1616e-08 | 0 | 0 | 0 | 0 | 75 | 0
Lugs along with nut, blot and washer suitable to connect 35Sq.mm cable for SCB earthing | 375 | NOS | INR | 39 | APS | 1 | 1 | 0 | SCO has better prices Vendor: APS (India0 |  | 0 | 0 | 39 | 0 | 8.239 | 8.239 | 216.8151 | 3089.6147 | 0 | 6.165e-06 | 0 | 0 | 0 | 0 | 14625 | 0
Lightning Protection | [22 empty] | 0 | 0 | 0 | 0
Junction Box for Optical Fiber Cable Jointing (LIU) | 20 | NOS | ZAR | 250 | AGE (old reference) | 1 | 1 | 0 | SCO to takes the quote and revised offer |  | 250 | 0 | 0 | 0 | 250 | 250 | 350.8772 | 5000 | 0.01 | 9.977e-06 | 0 | 0 | 5000 | 0 | 0 | 0
Inverter Station With 1 No. of Sungrow Central inverter of 1 X 3125 kVA at 50 Deg.C , 1nos. 3.125 MVA of Inverter Transformer, RMU, along with cabling between RMU & Transformer and Inverter & Transformer | 26 | NOS | ZAR | 2453000 |  | 1 | 1 | 0 |  |  | 2453000 | 0 | 0 | 0 | 2453000 | 2453000 | 4475649.1228 | 63778000 | 73.95 | 0.12726 | 5.19 | 0 | 63778000 | 0 | 0 | 0
Inline Fuse Holder and Fuse | 9460 | NOS | INR | 340 | Elcom | 1 | 1 | 0 | This is non negotiated price from Elcom (India) |  | 0 | 0 | 340 | 0 | 71.8269 | 71.8269 | 47683.0067 | 679482.846 | 0.79 | 0.0013558 | 0.06 | 0 | 0 | 0 | 3216400 | 0
Hold Down Saddle | 44766 | NOS | ZAR | 2.5 | Cabstrut | 0.97 | 1 | 1 |  |  | 2.5 | 0 | 0 | 0 | 2.5 | 2.425 | 7618.0737 | 108557.55 | 0.13 | 0.00021662 | 0.01 | 7618.0737 | 108557.55 | 0 | 0 | 0
Hardware for Interconnectivity at Site | 1 | NOS | ZAR | 427500 | Assumed | 1 | 1 | 0.5 | SWPL price to be considereed. (South Africa) |  | 427500 | 0 | 0 | 0 | 427500 | 427500 | 30000 | 427500 | 0.5 | 0.00085303 | 0.03 | 15000 | 427500 | 0 | 0 | 0
GI Street light pole with JB and single arm (2.5 mtr) +150mm STD Double galvanised spigots | 28 | NOS | ZAR | 2200.71 | VOLTEX | 1 | 1 | 1 | SCO to takes the quote and revised offer (South Africa) |  | 2200.71 | 0 | 0 | 0 | 2200.71 | 2200.71 | 4324.2021 | 61619.88 | 0.07 | 0.00012296 | 0.01 | 4324.2021 | 61619.88 | 0 | 0 | 0
G.I. mast of 7.5 mtrs long 50 mm dia along with the base plate for mounting the ese air terminal with the adaptor and guy wire kit (18 mtrs) | 70 | NOS | INR | 5850 | APS | 1 | 1 | 0 | SCO has better Price Vendor: APS (India) |  | 0 | 0 | 5850 | 0 | 1235.8459 | 1235.8459 | 6070.8218 | 86509.2107 | 0.1 | 0.00017262 | 0.01 | 0 | 0 | 0 | 409500 | 0
Foam Type Hand 45 kg | 5 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Foam type 9 Ltr | 28 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flat Cable Tray Cover | 0 | MTR | ZAR | 67.95 | Cabstrut | 0.925 | 1 | 1 |  |  | 67.95 | 0 | 0 | 0 | 67.95 | 62.8537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flat Cable Tray Cover | 0 | MTR | ZAR | 120.6 | Cabstrut | 0.925 | 1 | 1 | (South Africa) |  | 120.6 | 0 | 0 | 0 | 120.6 | 111.555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flat Cable Tray Cover | 0 | MTR | ZAR | 205.35 | Cabstrut | 0.925 | 1 | 1 |  |  | 205.35 | 0 | 0 | 0 | 205.35 | 189.9487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flat Cable Tray Cover | 0 | MTR | ZAR | 301.5 | Cabstrut | 0.925 | 1 | 1 |  |  | 301.5 | 0 | 0 | 0 | 301.5 | 278.8875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flat Cable Tray Cover | 0 | MTR | ZAR | 348.15 | Cabstrut | 0.925 | 1 | 1 |  |  | 348.15 | 0 | 0 | 0 | 348.15 | 322.0387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixing Cantiliver to Post | 17942 | NOS | ZAR | 4.95 | Cabstrut | 0.97 | 1 | 1 |  |  | 4.95 | 0 | 0 | 0 | 4.95 | 4.8015 | 6045.5097 | 86148.513 | 0.1 | 0.0001719 | 0.01 | 6045.5097 | 86148.513 | 0 | 0 | 0
First Aid Box | 2 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fire Buckets with Stand | 54 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fire Alarm System | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Fire Alarm System | 1 | NOS | INR | 12788 | Techsis | 1 | 1 | 0 | Quotation received from Techsis Price is inclusive of smoke detector and other accessories |  | 0 | 0 | 12788 | 0 | 2701.5379 | 2701.5379 | 189.5816 | 2701.5379 | 0 | 5.3907e-06 | 0 | 0 | 0 | 0 | 12788 | 0
Factory Wiring Programming and Software with FAT | 5 | NOS | USD |  | Cambell | 1 | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exothermic Welding for 70Sq.mm bare copper to 70Sq.mm bare copper | 440 | NOS | INR | 645 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 645 | 0 | 136.2599 | 136.2599 | 4207.3241 | 59954.3688 | 0.07 | 0.00011963 | 0 | 0 | 0 | 0 | 283800 | 0
Exothermic Welding for 70Sq.mm bare copper to 50Sq.mm bare copper | 100 | NOS | INR | 576 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 576 | 0 | 121.6833 | 121.6833 | 853.9178 | 12168.3285 | 0.01 | 2.4281e-05 | 0 | 0 | 0 | 0 | 57600 | 0
Exothermic welding for 70 sqmm PVC copper to 70 Sqmm bare stranded copper | 822 | NOS | INR | 625 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 625 | 0 | 132.0348 | 132.0348 | 7616.3241 | 108532.6179 | 0.13 | 0.00021657 | 0.01 | 0 | 0 | 0 | 513750 | 0
Exothermic Welding for 50Sq.mm bare copper to 35Sq.mm bare copper | 375.36 | NOS | INR | 700 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 700 | 0 | 147.879 | 147.879 | 3895.2883 | 55507.8587 | 0.06 | 0.00011076 | 0 | 0 | 0 | 0 | 262752 | 0
Earthing pit (200 mm dia) with all accessories including Earthing rod 3 mtr depth 17.2mm dia copper bonded steel earth rods combine the advantages of steel strength for deep driving along with corrosion resistance from the molecularly bonded copper, earth chamber, 5 hole bus bar, clamps and SS nut bolts. | 366 | NOS | INR | 3250 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further | ` | 0 | 0 | 3250 | 0 | 686.581 | 686.581 | 17634.2919 | 251288.6598 | 0.29 | 0.00050142 | 0.02 | 0 | 0 | 0 | 1189500 | 0
Early Streamer Emission (ESE) type Lightning Protection with all necessory accessories (Protection dia - 107 mtr) | 70 | NOS | INR | 26500 | APS | 1 | 1 | 0 | SCO has better Price Vendor: APS (India) |  | 0 | 0 | 26500 | 0 | 5598.2762 | 5598.2762 | 27500.3039 | 391879.3307 | 0.45 | 0.00078196 | 0.03 | 0 | 0 | 0 | 1855000 | 0
DWC HDPE Pipe (Outer dia of 63mm), there shall be no sharp edges, burrs or surface projections on HDPE pipe with in compliance to IEC 61386-2. | 11500 | MTR | INR | 50 | Reputed | 1 | 1 | 0 | SCO has better prices Vendor: AN Electricals (India) |  | 0 | 0 | 50 | 0 | 10.5628 | 10.5628 | 8524.353 | 121472.0297 | 0.14 | 0.00024239 | 0.01 | 0 | 0 | 0 | 575000 | 0
Destructive Tests Modules | 0 | NOS | USD |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Destructive Tests Modules | 0 | NOS | USD |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCP ABC type 4.5KG | 56 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCDB 110V, 1 nos 200A TPN MCCB, 10Nos 16A DP MCB, 5 Nos. 32Amp DB MCB | 1 | NOS | ZAR | 67479 | SHAW CONTROL | 1 | 1 | 1 | SCO to takes the quote and revised offer (South Africa) |  | 67479 | 0 | 0 | 0 | 67479 | 67479 | 4735.3684 | 67479 | 0.08 | 0.00013465 | 0.01 | 4735.3684 | 67479 | 0 | 0 | 0
DAP Delivery | 0 | LOT | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Danger and other Notice Boards (Site Signage) | 1 | LOT | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Crating of Switchgear for delivery | 0 | LOT | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Copper Plate Earthing for SCADA Panel | 25 | NOS | INR | 16950 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 16950 | 0 | 3580.7842 | 3580.7842 | 6282.0775 | 89519.6045 | 0.1 | 0.00017863 | 0.01 | 0 | 0 | 0 | 423750 | 0
Contingency | 0 | LOT | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Communication (Modbus over TCP/IP) | 5 | NOS | USD |  | Cambell | 1 | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Commissoning Support | 21 | DAYS | INR | 45500 |  | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 45500 | 0 | 9612.1345 | 9612.1345 | 14165.2509 | 201854.8251 | 0.23 | 0.00040278 | 0.02 | 0 | 0 | 0 | 955500 | 0
Commissoning Support | 1 | NOS | INR | 280000 | Link Vue | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 280000 | 0 | 59151.5971 | 59151.5971 | 4150.9893 | 59151.5971 | 0.07 | 0.00011803 | 0 | 0 | 0 | 0 | 280000 | 0
CO 2 9 kG | 28 | NOS | ZAR | 0 | CONTRACTOR | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cleaning Trucks | 0 | NOS | EUR | 88000 |  | 1 | 1 | 0 | SCO is considering sunbrush or equivalent for module cleaning |  | 0 | 0 | 0 | 88000 | 1408988.764 | 1408988.764 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL130 SPLICE SET c/w BOLTS & NUTS | 4870 | NOS | ZAR | 136 | Rocla | 0.97 | 1 | 1 |  |  | 136 | 0 | 0 | 0 | 136 | 131.92 | 45084.2386 | 642450.4 | 0.74 | 0.0012819 | 0.05 | 45084.2386 | 642450.4 | 0 | 0 | 0
CL130 ACC SPLICE SET | 4870 | NOS | ZAR | 14.8 | Cabstrut | 0.97 | 1 | 1 |  |  | 14.8 | 0 | 0 | 0 | 14.8 | 14.356 | 4906.226 | 69913.72 | 0.08 | 0.00013951 | 0.01 | 4906.226 | 69913.72 | 0 | 0 | 0
CCTV System | 1 | LOT | INR | 92400 | Techsis | 1 | 1 | 0 | Considering PTZ camera. Quotation is available for bullet camera and Dome type camera |  | 0 | 0 | 92400 | 0 | 19520.027 | 19520.027 | 1369.8265 | 19520.027 | 0.02 | 3.895e-05 | 0 | 0 | 0 | 0 | 92400 | 0
CAT7 moulded RJ45 port LAN cable | 1765 | MTR | ZAR | 23.2 | TTS Africa | 1 | 1 | 0.8 | SCO to takes the quote and revised offer (South Africa) |  | 23.2 | 0 | 0 | 0 | 23.2 | 23.2 | 2873.5439 | 40948 | 0.05 | 8.1708e-05 | 0 | 2298.8351 | 40948 | 0 | 0 | 0
Cantiliver Arm (850 mm) | 2070 | NOS | INR | 85 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 85 | 0 | 17.9567 | 17.9567 | 2608.452 | 37170.4411 | 0.04 | 7.417e-05 | 0 | 0 | 0 | 0 | 175950 | 0
Cantiliver Arm (650 mm) | 1134 | NOS | INR | 85 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 85 | 0 | 17.9567 | 17.9567 | 1428.9781 | 20362.9373 | 0.02 | 4.0632e-05 | 0 | 0 | 0 | 0 | 96390 | 0
Cantiliver Arm (550 mm) | 1074 | NOS | INR | 85 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 85 | 0 | 17.9567 | 17.9567 | 1353.3708 | 19285.5332 | 0.02 | 3.8482e-05 | 0 | 0 | 0 | 0 | 91290 | 0
Cantiliver Arm (350 mm) | 4414 | NOS | INR | 85 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 85 | 0 | 17.9567 | 17.9567 | 5562.1774 | 79261.0275 | 0.09 | 0.00015816 | 0.01 | 0 | 0 | 0 | 375190 | 0
Cantiliver Arm (1050 mm) | 279 | NOS | INR | 85 | Fitvell | 1 | 1 | 0 |  |  | 0 | 0 | 85 | 0 | 17.9567 | 17.9567 | 351.574 | 5009.929 | 0.01 | 9.9968e-06 | 0 | 0 | 0 | 0 | 23715 | 0
Cable tray supports | 4753.6 | KG | INR | 58 | Contractor Scope | 1 | 1 | 0 | Tentative Offer from Indian Vendor. Price is non negotiated |  | 0 | 0 | 58 | 0 | 12.2528 | 12.2528 | 4087.3724 | 58245.0566 | 0.07 | 0.00011622 | 0 | 0 | 0 | 0 | 275708.8 | 0
Cable Ties |  | NOS | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Air Conditioners for Main Control Rooms | 10 | NOS | ZAR | 21375 |  | 1 | 1 | 0 | SWPL price to be considered (South Africa) |  | 21375 | 0 | 0 | 0 | 21375 | 21375 | 15000 | 213750 | 0.25 | 0.00042652 | 0.02 | 0 | 213750 | 0 | 0 | 0
Additional Testing | 0 | NOS | USD |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Access Control for Main Gate | 0 | LOT | USD | 15000 | assumed | 1 | 1 | 0 |  |  | 0 | 15000 | 0 | 0 | 213750 | 213750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Access Control Face Detection, Finger print, card reader multi device - BUILDING | 6 | NOS | INR | 9750 | Link Vue | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 9750 | 0 | 2059.7431 | 2059.7431 | 867.2603 | 12358.4587 | 0.01 | 2.466e-05 | 0 | 0 | 0 | 0 | 58500 | 0
9 Way TPN DB with 63A ELCB as incomer with 24hr day night timer with contactor. Outgoing 9No 10A SP MCB C curve. DB with IP 54 protection | 2 | NOS | ZAR | 20932 | VOLTEX | 1 | 1 | 0.3 | SCO to takes the quote and revised offer (South Africa) |  | 20932 | 0 | 0 | 0 | 20932 | 20932 | 2937.8246 | 41864 | 0.05 | 8.3536e-05 | 0 | 881.3474 | 41864 | 0 | 0 | 0
70Sq.mm, bare copper, Multi Stranded, Class-2 Condutor for Earth Grid | 16010 | MTR | INR | 432 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 432 | 0 | 91.2625 | 91.2625 | 102534.1789 | 1461112.05 | 1.69 | 0.0029155 | 0.12 | 0 | 0 | 0 | 6916320 | 0
70 sqmm PVC copper | 2760 | MTR | INR | 432 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 432 | 0 | 91.2625 | 91.2625 | 17676.0983 | 251884.4009 | 0.29 | 0.00050261 | 0.02 | 0 | 0 | 0 | 1192320 | 0
70 sqmm bare Cu Conductor | 1050 | MTR | INR | 432 | APS | 1 | 1 | 0 | SCO has better Price Vendor: APS |  | 0 | 0 | 432 | 0 | 91.2625 | 91.2625 | 6724.6026 | 95825.5873 | 0.11 | 0.00019121 | 0.01 | 0 | 0 | 0 | 453600 | 0
63 kVA DG Set with Alternator, Diesel Engine, Circuit Breaker with Automatic changeover arrangement, necessary protection, Control & Monitoring System, Exhaust System, etc., with minimum run-time of 6 hours. including oil storage tank. | 0 | NOS | ZAR | 241608 | Meridien | 1 | 1 | 0.5 |  |  | 241608 | 0 | 0 | 0 | 241608 | 241608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
600mm Wide Ladder Tray Ladder Type in MCR | 100 | MTR | INR | 441 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor (FITVELL). Price is non negotiated as drawings were not available |  | 0 | 0 | 441 | 0 | 93.1638 | 93.1638 | 653.7808 | 9316.3765 | 0.01 | 1.859e-05 | 0 | 0 | 0 | 0 | 44100 | 0
50Sq.mm, bare copper, Multi Stranded, Class-2 Condutor for Earth Grid | 8000 | MTR | INR | 316 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 316 | 0 | 66.7568 | 66.7568 | 37477.5031 | 534054.4195 | 0.62 | 0.0010657 | 0.04 | 0 | 0 | 0 | 2528000 | 0
5 c x 2.5 Sqmm copper cable | 112 | NOS | INR | 163.74 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 163.74 | 0 | 34.591 | 34.591 | 271.8732 | 3874.193 | 0 | 7.7306e-06 | 0 | 0 | 0 | 0 | 18338.88 | 0
5 c x 2.5 Sqmm copper cable | 560 | NOS | INR | 1.04 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 1.04 | 0 | 0.21971 | 0.21971 | 8.6341 | 123.0353 | 0 | 2.455e-07 | 0 | 0 | 0 | 0 | 582.4 | 0
4CX16 Sqmm Al. Cable, XLPE (Lighting, Small Aux. Panels) | 100 | NOS | INR | 228.2 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 228.2 | 0 | 48.2086 | 48.2086 | 338.3056 | 4820.8552 | 0.01 | 9.6195e-06 | 0 | 0 | 0 | 0 | 22820 | 0
4CX16 Sqmm Al. Cable, XLPE (Lighting, Small Aux. Panels) | 400 | NOS | INR | 1.75 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.1.75 from RAMAN ELECTRIC (India) |  | 0 | 0 | 1.75 | 0 | 0.3697 | 0.3697 | 10.3775 | 147.879 | 0 | 2.9508e-07 | 0 | 0 | 0 | 0 | 700 | 0
4CX120 Sqmm Al, Cable, XLPE (LT Panel to Charger & DBs) | 24 | NOS | INR | 574.28 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 574.28 | 0 | 121.3199 | 121.3199 | 204.3283 | 2911.6782 | 0 | 5.81e-06 | 0 | 0 | 0 | 0 | 13782.72 | 0
4CX120 Sqmm Al, Cable, XLPE (LT Panel to Charger & DBs) | 96 | NOS | INR | 10 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.10 from RAMAN ELECTRIC (India) |  | 0 | 0 | 10 | 0 | 2.1126 | 2.1126 | 14.232 | 202.8055 | 0 | 4.0468e-07 | 0 | 0 | 0 | 0 | 960 | 0
4c X 6 Sqmm Cu. (XLPE SWA PVC) | 98 | NOS | INR | 163.74 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 163.74 | 0 | 34.591 | 34.591 | 237.889 | 3389.9189 | 0 | 6.7643e-06 | 0 | 0 | 0 | 0 | 16046.52 | 0
4c X 6 Sqmm Cu. (XLPE SWA PVC) | 392 | NOS | INR | 4.75 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.4.75 from RAMAN ELECTRIC (India) |  | 0 | 0 | 4.75 | 0 | 1.0035 | 1.0035 | 27.6041 | 393.3581 | 0 | 7.8491e-07 | 0 | 0 | 0 | 0 | 1862 | 0
4c X 4 Sqmm Cu. (SWA PVC) | 338.8 | NOS | INR | 163.74 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 163.74 | 0 | 34.591 | 34.591 | 822.4164 | 11719.4338 | 0.01 | 2.3385e-05 | 0 | 0 | 0 | 0 | 55475.112 | 0
4c X 4 Sqmm Cu. (SWA PVC) | 1355.2 | NOS | INR | 4.65 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.4.65 from RAMAN ELECTRIC (India) |  | 0 | 0 | 4.65 | 0 | 0.98234 | 0.98234 | 93.4222 | 1331.2658 | 0 | 2.6564e-06 | 0 | 0 | 0 | 0 | 6301.68 | 0
4C X 10 Sqmm Al. (XLPE SWA PVC) (for Perimeter Lighting) |  | MTR | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4c X 10 Sqmm Al. (XLPE SWA PVC) | 100 | NOS | INR | 175.5 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 175.5 | 0 | 37.0754 | 37.0754 | 260.1781 | 3707.5376 | 0 | 7.398e-06 | 0 | 0 | 0 | 0 | 17550 | 0
4c X 10 Sqmm Al. (XLPE SWA PVC) | 400 | NOS | INR | 1.45 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.1.45 from RAMAN ELECTRIC (India) |  | 0 | 0 | 1.45 | 0 | 0.30632 | 0.30632 | 8.5985 | 122.5283 | 0 | 2.4449e-07 | 0 | 0 | 0 | 0 | 580 | 0
450mm Wide Tray Perforated Type below SCB | 750.72 | MTR | INR | 660 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor (FITVELL). Price is non negotiated as drawings were not available |  | 0 | 0 | 660 | 0 | 139.4288 | 139.4288 | 7345.4008 | 104671.9621 | 0.12 | 0.00020886 | 0.01 | 0 | 0 | 0 | 495475.2 | 0
450mm Wide Ladder Tray | 100 | MTR | INR | 397 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor (FITVELL). Price is non negotiated as drawings were not available |  | 0 | 0 | 397 | 0 | 83.8685 | 83.8685 | 588.551 | 8386.8514 | 0.01 | 1.6735e-05 | 0 | 0 | 0 | 0 | 39700 | 0
3C x 2.5 Sqmm. copper cable | 224 | NOS | INR | 111.69 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 111.69 | 0 | 23.5951 | 23.5951 | 370.8992 | 5285.3135 | 0.01 | 1.0546e-05 | 0 | 0 | 0 | 0 | 25018.56 | 0
3C x 2.5 Sqmm. copper cable | 672 | NOS | INR | 1.04 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 1.04 | 0 | 0.21971 | 0.21971 | 10.3609 | 147.6424 | 0 | 2.9461e-07 | 0 | 0 | 0 | 0 | 698.88 | 0
3c x 2.5 Sqmm Cu Cable | 1675 | NOS | INR | 111.66 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 111.66 | 0 | 23.5888 | 23.5888 | 2772.72 | 39511.2599 | 0.05 | 7.8841e-05 | 0 | 0 | 0 | 0 | 187030.5 | 0
3c x 2.5 Sqmm Cu Cable | 6700 | NOS | INR | 2.4 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.2.40 from RAMAN ELECTRIC (India) |  | 0 | 0 | 2.4 | 0 | 0.50701 | 0.50701 | 238.3854 | 3396.9917 | 0 | 6.7784e-06 | 0 | 0 | 0 | 0 | 16080 | 0
35Sq.mm PVC Copper flexible for SCB earthing | 1238.688 | MTR | INR | 210 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 210 | 0 | 44.3637 | 44.3637 | 3856.3354 | 54952.7801 | 0.06 | 0.00010965 | 0 | 0 | 0 | 0 | 260124.48 | 0
35 Sqmm PVC Copper flexible Cable for Tracker to Tracker earthing | 18882 | MTR | INR | 210 | APS | 1 | 1 | 0 | Quotation From APS Negotiation can be made further |  | 0 | 0 | 210 | 0 | 44.3637 | 44.3637 | 58784.2345 | 837675.3422 | 0.97 | 0.0016715 | 0.07 | 0 | 0 | 0 | 3965220 | 0
3.0 Meter 4.0Sq.mm Cable Harness B/W 1 meter Tracker Gap (In Pair) | 1388 | NOS | INR | 265 | Elcom | 1 | 1 | 0 | SCO recommends to consider pair of connector and 6 Sq.mm cable with 3 meter length (USA) |  | 0 | 0 | 265 | 0 | 55.9828 | 55.9828 | 5452.9174 | 77704.073 | 0.09 | 0.00015505 | 0.01 | 0 | 0 | 0 | 367820 | 0
3 MVAR, 33 kV, 1 step, 50 Hz capacitor bank in metal enclosure with degree of protection IP54 and C4 anticorrosive treatment. | 0 | NOS | EUR | 56395 |  | 0.95 | 1 | 0 |  |  | 0 | 0 | 0 | 56395 | 902953.6517 | 857805.9691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 MVAr, 24 kV 50 Hz, 3 Phase | 0 | NOS | EUR | 65000 |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 65000 | 1040730.3371 | 1040730.3371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2x900mm Wide Mesh Type Cable Tray | 1040 | MTR | ZAR | 389.7 | Rocla | 0.925 | 1 | 1 | Cable Trays |  | 389.7 | 0 | 0 | 0 | 389.7 | 360.4725 | 26308.1684 | 374891.4 | 0.43 | 0.00074806 | 0.03 | 26308.1684 | 374891.4 | 0 | 0 | 0
2x750mm Wide Mesh Type Cable Tray | 6210 | MTR | ZAR | 132 | Rocla | 0.925 | 1 | 1 | (South Africa) |  | 132 | 0 | 0 | 0 | 132 | 122.1 | 53209.8947 | 758241 | 0.88 | 0.001513 | 0.06 | 53209.8947 | 758241 | 0 | 0 | 0
2x600mm Wide Mesh Type Cable Tray | 2852 | MTR | ZAR | 114 | Rocla | 0.925 | 1 | 1 | Considering Hume pipe (South Africa) |  | 114 | 0 | 0 | 0 | 114 | 105.45 | 21104.8 | 300743.4 | 0.35 | 0.0006001 | 0.02 | 21104.8 | 300743.4 | 0 | 0 | 0
2x450mm Wide Mesh Type Cable Tray | 3220 | MTR | ZAR | 96 | Cabstrut | 0.925 | 1 | 1 | Considering cable tray (lower price compared to Hume pipe) (South Africa) |  | 96 | 0 | 0 | 0 | 96 | 88.8 | 20065.6842 | 285936 | 0.33 | 0.00057056 | 0.02 | 20065.6842 | 285936 | 0 | 0 | 0
2x300mm Wide Mesh Type Cable Tray | 3680 | MTR | ZAR | 78.1 | Cabstrut | 0.925 | 1 | 1 | Considering cable tray (lower price compared to Hume pipe) (South Africa) |  | 78.1 | 0 | 0 | 0 | 78.1 | 72.2425 | 18656.3088 | 265852.4 | 0.31 | 0.00053048 | 0.02 | 18656.3088 | 265852.4 | 0 | 0 | 0
22kV, IC/OG panel - 1600A, 25kA for 3 Sec | 0 | NOS | ZAR | 503753 | To be removed as directed by SC | 1 | 1 | 0.5 |  |  | 503753 | 0 | 0 | 0 | 503753 | 503753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22kV Straight through joints Supply , Manufacturing , Erection , Testing and Commissioning of 22kV heat shrinkable outdoor type straight through joint for 22kV, 1Core 300 sq.mm Cable | 113 | NOS | INR | 3100 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs. 3100 from Raman Electricals (India) |  | 0 | 0 | 3100 | 0 | 654.8927 | 654.8927 | 5193.1841 | 74002.8731 | 0.09 | 0.00014767 | 0.01 | 0 | 0 | 0 | 350300 | 0
22KV 630A 25KA - Feeder Panel | 14 | NOS | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22KV 25KA - Bus Riser + VT + Earth | 2 | NOS | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22KV 1250A 25KA - INCOMER + VT | 1 | NOS | INR | 12619875 | Tricolite | 1 | 1 | 0 | SCO has offer of Tricolite with 12 bay considering two 1600A outgoing breaker of Rs.10095900. As per our requirement we need 15 bay panel for which we have averageout our offer (India) |  | 0 | 0 | 12619875 | 0 | 2666020.5763 | 2666020.5763 | 187089.1632 | 2666020.5763 | 3.09 | 0.0053198 | 0.22 | 0 | 0 | 0 | 12619875 | 0
22KV 1250A 25KA - Bus Coupler | 1 | NOS | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 mm dia UPVC Pipes | 300 | MTR | INR | 100 | Reputed | 1 | 1 | 0 | Tentative Offer from Indian Vendor. Price is non negotiated |  | 0 | 0 | 100 | 0 | 21.1256 | 21.1256 | 444.7488 | 6337.6711 | 0.01 | 1.2646e-05 | 0 | 0 | 0 | 0 | 30000 | 0
1x900mm Wide Mesh Type Cable Tray | 630 | MTR | INR | 642 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor. Price is non negotiated |  | 0 | 0 | 642 | 0 | 135.6262 | 135.6262 | 5996.104 | 85444.482 | 0.1 | 0.0001705 | 0.01 | 0 | 0 | 0 | 404460 | 0
1x600mm Wide Mesh Type Cable Tray | 1100 | MTR | INR | 441 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor. Price is non negotiated |  | 0 | 0 | 441 | 0 | 93.1638 | 93.1638 | 7191.5889 | 102480.142 | 0.12 | 0.00020449 | 0.01 | 0 | 0 | 0 | 485100 | 0
1x300mm Ladder Type Cable Tray | 2100 | MTR | INR | 347 | Fitvell | 1 | 1 | 0 | Tentative Offer from Indian Vendor. Price is non negotiated |  | 0 | 0 | 347 | 0 | 73.3057 | 73.3057 | 10802.9496 | 153942.0314 | 0.18 | 0.00030718 | 0.01 | 0 | 0 | 0 | 728700 | 0
1x150mm Wide Mesh Type Cable Tray | 8510 | MTR | ZAR | 60.15 | Cabstrut | 0.925 | 1 | 1 | Considering cable tray (lower price compared to Hume pipe) (South Africa) |  | 60.15 | 0 | 0 | 0 | 60.15 | 55.6388 | 33227.0711 | 473485.7625 | 0.55 | 0.00094479 | 0.04 | 33227.0711 | 473485.7625 | 0 | 0 | 0
1st Cleaning by Trucks Fuel & Operator | 1 | LS | ZAR | 777878.79 | CONTRACTOR | 0.9 | 1 | 1 |  |  | 777878.79 | 0 | 0 | 0 | 777878.79 | 700090.911 | 49129.1867 | 700090.911 | 0.81 | 0.001397 | 0.06 | 49129.1867 | 700090.911 | 0 | 0 | 0
1c x 70 sqmm Cu (GRN/YEL) Inverter Earthing | 0 | MTR | ZAR |  | Aberdare | 1 | 1 | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1c x 70 sqmm Cu (GRN/YEL) Inverter Earthing | 0 | NOS | ZAR |  |  | 1 | 1 | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1c x 70 sqmm Cu (GRN/YEL) Inverter Earthing | 0 | NOS | ZAR |  | TTS Africa | 1 | 1 | 0.6 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1C x 630 Sqmm 22kV MV Cu. Ar. FR cable, XLPE Insulation | 300 | NOS | INR | 150 | Sumip | 1 | 1 | 0 | SCO to takes the quote and revised offer |  | 0 | 0 | 150 | 0 | 31.6884 | 31.6884 | 667.1233 | 9506.5067 | 0.01 | 1.8969e-05 | 0 | 0 | 0 | 0 | 45000 | 0
1C x 6 sqmm UV Solar Cable (rated DC Voltage - 1.8kV) | 640364.16 | MTR | INR | 33 | APAR | 1 | 1 | 0 | SCO has better prices Vendor: Apar (India) Price can be negotiated further |  | 0 | 0 | 33 | 0 | 6.9714 | 6.9714 | 313281.3463 | 4464259.1854 | 5.18 | 0.008908 | 0.36 | 0 | 0 | 0 | 21132017.28 | 0
1C x 400 Sqmm 22kV MV AL Ar. FR cable, XLPE Insulation | 0 | MTR | INR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1C x 400 Sqmm 22kV MV AL Ar. FR cable, XLPE Insulation | 0 | NOS | ZAR |  | Sumip | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1C x 300 Sqmm 22kV MV AL Ar. FR cable, XLPE Insulation | 9442 | NOS | INR | 110 | Sumip | 1 | 1 | 0 | SCO to takes the quote and revised offer |  | 0 | 0 | 110 | 0 | 23.2381 | 23.2381 | 15397.5017 | 219414.3992 | 0.25 | 0.00043782 | 0.02 | 0 | 0 | 0 | 1038620 | 0
1c x 25 sqmm Cu (GRN/YEL) UPS Earthing | 0 | MTR | ZAR |  | Aberdare | 1 | 1 | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1c x 25 sqmm Cu (GRN/YEL) UPS Earthing | 0 | NOS | ZAR |  |  | 1 | 1 | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1c x 25 sqmm Cu (GRN/YEL) UPS Earthing | 0 | NOS | ZAR |  | TTS Africa | 1 | 1 | 0.6 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 c x 2.5 Sqmm copper cable | 280 | NOS | INR | 228.2 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 228.2 | 0 | 48.2086 | 48.2086 | 947.2558 | 13498.3945 | 0.02 | 2.6935e-05 | 0 | 0 | 0 | 0 | 63896 | 0
19 c x 2.5 Sqmm copper cable | 5320 | NOS | INR | 1.04 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 1.04 | 0 | 0.21971 | 0.21971 | 82.0236 | 1168.8356 | 0 | 2.3323e-06 | 0 | 0 | 0 | 0 | 5532.8 | 0
15 Meter 4.0Sq.mm Cable Harness B/W 1 meter Tracker Gap (In Pair) | 137 | NOS | INR | 961 | Elcom | 1 | 1 | 0 | SCO recommends to consider pair of connector and 6 Sq.mm cable with 10 meter length (usa) |  | 0 | 0 | 961 | 0 | 203.0167 | 203.0167 | 1951.81 | 27813.2922 | 0.03 | 5.5499e-05 | 0 | 0 | 0 | 0 | 131657 | 0
12 c x 2.5 Sqmm copper cable | 420 | NOS | INR | 175.5 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 175.5 | 0 | 37.0754 | 37.0754 | 1092.7479 | 15571.6579 | 0.02 | 3.1072e-05 | 0 | 0 | 0 | 0 | 73710 | 0
12 c x 2.5 Sqmm copper cable | 5040 | NOS | INR | 1.04 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 1.04 | 0 | 0.21971 | 0.21971 | 77.7065 | 1107.3179 | 0 | 2.2095e-06 | 0 | 0 | 0 | 0 | 5241.6 | 0
110V DC BTU - 10 A CVC with 85xKPL50 NiCd Batteries (50 AH) | 1 | NOS | ZAR | 169000 | EATON | 1 | 1 | 0.85 | SCO to takes the quote and revised offer (South Africa) |  | 169000 | 0 | 0 | 0 | 169000 | 169000 | 11859.6491 | 169000 | 0.2 | 0.00033722 | 0.01 | 10080.7018 | 169000 | 0 | 0 | 0
1.8 kV DC, 1c x 400 sqmm (Armoured, Al cable) | 1022 | NOS | INR | 66.34 | Hex | 1 | 1 | 0 | Vendor- HEX (India) |  | 0 | 0 | 66.34 | 0 | 14.0147 | 14.0147 | 1005.1247 | 14323.0269 | 0.02 | 2.858e-05 | 0 | 0 | 0 | 0 | 67799.48 | 0
1.8 kV DC, 1c x 400 sqmm (Armoured, Al cable) | 2044 | NOS | ZAR | 12.91 | TTS Africa | 1 | 1 | 0 | SCO has better prices Vendor: Comet (India) |  | 12.91 | 0 | 0 | 0 | 12.91 | 12.91 | 1851.7923 | 26388.04 | 0.03 | 5.2655e-05 | 0 | 0 | 26388.04 | 0 | 0 | 0
1.8 kV DC, 1c x 400 sqmm ( Al cable) | 144044.4 | MTR | INR | 335 | Apar | 1 | 1 | 0 | Price considered as per quotation received for Afghanistan sitye. | Quotation as per the PO shared with Apar for Afghanistan site | 0 | 0 | 335 | 0 | 70.7707 | 70.7707 | 715376.6578 | 10194117.3737 | 11.82 | 0.020341 | 0.83 | 0 | 0 | 0 | 48254874 | 0
1.8 kV DC, 1c x 240 sqmm (Armoured, Al cable) |  | NOS | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.8 kV DC, 1c x 240 sqmm (Armoured, Al cable) | 0 | NOS | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.8 kV DC, 1c x 240 sqmm ( Al cable) |  | MTR | ZAR |  |  | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1kV, 3.5CX240 Sqmm, XLPE, Ar., FR, Al Cable for DG/Aux Trafo | 12 | NOS | INR | 1097.29 | Comet | 1 | 1 | 0 | SCO has better prices Vendor: AN Electrials (India) |  | 0 | 0 | 1097.29 | 0 | 231.8088 | 231.8088 | 195.2074 | 2781.7053 | 0 | 5.5506e-06 | 0 | 0 | 0 | 0 | 13167.48 | 0
1.1kV, 3.5CX240 Sqmm, XLPE, Ar., FR, Al Cable for DG/Aux Trafo | 48 | NOS | INR | 28 | Raman Electricals | 1 | 1 | 0 | Sco has offer of Rs.28 from RAMAN ELECTRIC (India) |  | 0 | 0 | 28 | 0 | 5.9152 | 5.9152 | 19.9248 | 283.9277 | 0 | 5.6655e-07 | 0 | 0 | 0 | 0 | 1344 | 0
1.0 Meter 4.0Sq.mm Cable Harness with Connectors on each side to complete stringing on Tracker Structures | 2905 | NOS | INR | 149 | Elcom | 1 | 1 | 0 | SCO recommend this gap can be bridge with modules cable. |  | 0 | 0 | 149 | 0 | 31.4771 | 31.4771 | 6416.9105 | 91440.9752 | 0.11 | 0.00018246 | 0.01 | 0 | 0 | 0 | 432845 | 0
1 x 36 W LED | 60 | NOS | ZAR | 2558 | VOLTEX | 1 | 1 | 0.25 | SCO to takes the quote and revised offer (South Africa) |  | 2558 | 0 | 0 | 0 | 2558 | 2558 | 10770.5263 | 153480 | 0.18 | 0.00030625 | 0.01 | 2692.6316 | 153480 | 0 | 0 | 0
0.630/0.400kV 20kVA two winding transformer | 26 | NOS | ZAR |  | included in Inv Stn | 1 | 1 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0.400/22 kV 63kVA, ONAN, Outdoor Type Two winding transformer | 2 | NOS | ZAR | 55000 | ACTOM | 1 | 1 | 0.9 | SCO has offer of M/s SANS of 100KVA auxillary transformer R 83024 (South Africa) | SCO has offer for 100KVA auxillary transformer. We have considerd 63KVA accordingly. | 55000 | 0 | 0 | 0 | 55000 | 55000 | 7719.2982 | 110000 | 0.13 | 0.00021949 | 0.01 | 6947.3684 | 110000 | 0 | 0 | 0
ACCESS Controler Double-door Network Access Controller DS-K2802 1 4 Card Readers (Wiegand Interface) Door Sensor × 2, Exit Button × 2, Case Input × 2 Inside Building | 3 | NOS | INR | 10800 | Link Vue | 1 | 1 | 0 | SCO to takes the quote and revised offer (India) |  | 0 | 0 | 10800 | 0 | 2281.5616 | 2281.5616 | 480.3288 | 6844.6848 | 0.01 | 1.3658e-05 | 0 | 0 | 0 | 0 | 32400 | 0
Weather Monitoring Stations - Campbell Scientific | 5 | NOS | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Weather Monitoring Stations | [23 empty] | 0
Trefoil Clamps | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Tray Connection with Cantiliver Arm | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Terminations | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
String Combiner Box (SCB) | [23 empty] | 0
Spares | [23 empty] | 0
Site Surveillance System and FAS | [23 empty] | 0
Single Axist Trackers | [23 empty] | 0
Single Axis Trackers | [23 empty] | 0
PV Plant SCADA | [23 empty] | 0
Power Cable for distribution from LTDB to Inverter Room LV Panel | [10 empty] | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Plant Illumination System | [23 empty] | 0
MV Panels (For MCR) | [23 empty] | 0
MV Circuit | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
MV Cables and Terminations | [23 empty] | 0
Misc Safety Equipment | [23 empty] | 0
Misc | [8 empty] | SCO to takes the quote and revised offer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
LV System and Auxiliary System | [23 empty] | 0
Lugs for Control Cables | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Lugs | [8 empty] | SCO to takes the quote and revised offer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Lugs | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Glands for Control Cables | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Glands for above Cables | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Gland | [8 empty] | SCO to takes the quote and revised offer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Field Communication Cables | [23 empty] | 0
Earthing System | [23 empty] | 0
DC Circuit |  |  |  |  | Cabstrut, 7.5% discount assumed | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
DC Cables and Connectors | [23 empty] | 0
DC Cable SCB to Inverter | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Control Cables | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Contingency | [23 empty] | 0
Cleaning Trucks | [23 empty] | 0
CENTRAL INVERTER STATION | [23 empty] | 0
Capacitor Banks | [23 empty] | 0
Cables | [10 empty] | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Cable Trays | [8 empty] | SCO to takes the quote and revised offer (South Africa) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
CABLE TRAYS | [23 empty] | 0
Accessories | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Access Control System for MCR |  |  |  |  | 0 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
AC for Main Control Room | [23 empty] | 0
AC Cables, Terminations and Cable Trays | [23 empty] | 0
22 kV HT Panel(AIS type) 25 kA for 1 sec | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0